## Slide 1
CPA12 with HP safety warning
With CPAC control:
If pressure drops in
fouled gas line, air vent will not open and a warning is given on control system.
Possible reason:
Failure on coil for solenoid valve to purge point
Fouled gas inlet
HP safety
Pumped liquid inlet
Air
”Wet” suction line