## Slide 1
Note: Min. 1,0 meter
Recommended installation of CPAW12 on R717 thermosyphon systems
Note: CPAW12 suction lines must be installed in a way so liquid from CPA12 “wet suction can not run backwards into CPW12 dry suction
Note!