## Slide 1
LP liquid supply
Oil drain
HP service valve
Fouled gas from purge points
Wet suction
Air out blow
Orifice plug in CVH with Ø2.0 mm
Orifice screw for pumped liquid.
Remove orifice screw for
thermosyphon applications
EVM mounted in CVH
With Ø2.0 mm orifice screw
For on/of LP liquid possibility
NOT INCLUDED IN DELIVERY