## Slide 1
CPAW12 system with HP safety warning
Fouled gas inlet
Pumped LP
liquid inlet
”Wet” suction line
If pressure drops in
fouled gas line air vent will not open
and a warning is given on control system.
Possible reason:
Burned coil on solenoid
Valve to purge point